{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["2017.7.19","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2017.7.19","index":0,"n_rows":193,"n_cols":4,"rows_kept":193,"merged":[[194,1,194,3]],"flags":["formulas_cached_only"]}
["类别","产品名称","品名","规格型号"]
["创伤","金属解剖型接骨板","跟骨接骨板","8-28孔"]
["创伤","金属解剖型接骨板","小T型接骨板","2-8孔"]
["创伤","金属解剖型接骨板","Y型接骨板","3-8孔"]
["创伤","金属解剖型接骨板","工型接骨板","5孔"]
["创伤","金属解剖型接骨板","小L型接骨板","2-8孔"]
["创伤","金属解剖型接骨板","斜L型接骨板","2-8孔"]
["创伤","金属解剖型接骨板","Z型接骨板","3-8孔"]
["创伤","金属解剖型接骨板","肱骨髁接骨板","3-10孔"]
["创伤","金属解剖型接骨板","H型接骨板","3-8孔"]
["创伤","金属解剖型接骨板","弧型接骨板","3-14孔"]
["创伤","金属解剖型接骨板","矩型接骨板","4-18孔"]
["创伤","金属解剖型接骨板","三叶接骨板","3-8孔"]
["创伤","金属解剖型接骨板","肱骨近端接骨板","3-10孔"]
["创伤","金属解剖型接骨板","股骨颈接骨板","3-10孔"]
["创伤","金属解剖型接骨板","桡骨远端外侧接骨板","3-6孔"]
["创伤","金属解剖型接骨板","桡骨/腓骨远端接骨板","3-8孔"]
["创伤","金属解剖型接骨板","桡骨远端内侧接骨板","3-6孔"]
["创伤","金属解剖型接骨板","鹰嘴钩接骨板","3-8孔"]
["创伤","金属解剖型接骨板","重建型鹰嘴钩接骨板","3-8孔"]
["创伤","金属解剖型接骨板","肱骨远端内侧接骨板","8-16孔"]
["创伤","金属解剖型接骨板","肱骨远端外侧接骨板","10-20孔"]
["创伤","金属解剖型接骨板","桡骨远端背侧接骨板","12-18孔"]
["创伤","金属解剖型接骨板","肱骨髁Y型接骨板","3-8孔"]
["创伤","金属解剖型接骨板","鹰嘴窝接骨板","3-8孔"]
["创伤","金属解剖型接骨板","肱骨远端ST型接骨板","3-8孔"]
["创伤","金属解剖型接骨板","胫骨平台外侧接骨板I型","5-11孔"]
["创伤","金属解剖型接骨板","胫骨平台外侧接骨板II型","5-11孔"]
["创伤","金属解剖型接骨板","胫骨平台外侧接骨板III型","5-11孔"]
["创伤","金属解剖型接骨板","胫骨近端内（外）侧接骨板","4-11孔"]
["创伤","金属解剖型接骨板","胫骨远端内（外）侧接骨板I型","5-13孔"]
["创伤","金属解剖型接骨板","胫骨远端内（外）侧接骨板II型","5-13孔"]
["创伤","金属解剖型接骨板","胫骨远端内（外）侧接骨板III型","5-13孔"]
["创伤","金属解剖型接骨板","匙型接骨板","4-10孔"]
["创伤","金属解剖型接骨板","腓骨远端接骨板I型","3-8孔"]
["创伤","金属解剖型接骨板","腓骨远端接骨板II型","3-8孔"]
["创伤","金属解剖型接骨板","斜T型接骨板","2-8孔"]
["创伤","金属解剖型接骨板","L型接骨板","4-8孔"]
["创伤","金属解剖型接骨板","T型接骨板","4-8孔"]
["创伤","金属解剖型接骨板","股骨髁支持接骨板I型","4-18孔"]
["创伤","金属解剖型接骨板","股骨远端内侧接骨板","4-13孔"]
["创伤","金属解剖型接骨板","股骨近端髁接骨板I型","5-13孔"]
["创伤","金属解剖型接骨板","股骨近端髁接骨板II型","5-13孔"]
["创伤","金属解剖型接骨板","股骨髁支持接骨板II型","4-18孔"]
["创伤","金属解剖型接骨板","锁骨钩接骨板","4-8孔"]
["创伤","金属解剖型接骨板","S型锁骨接骨板","4-12孔"]
["创伤","金属解剖型接骨板","肩锁钩接骨板","4-8孔"]
["创伤","金属解剖型接骨板","髋臼后壁接骨板","4-16孔"]
["创伤","金属解剖型接骨板","弓状线耻骨接骨板","4-16孔"]
["创伤","金属解剖型接骨板","髋臼后柱接骨板","4-16孔"]
["创伤","金属解剖型接骨板","骨盆接骨板","4-16孔"]
["创伤","金属解剖型接骨板","骼耻联合接骨板","4-16孔"]
["创伤","金属接骨板","肱骨钢板","2-16孔"]
["创伤","金属接骨板","上肢加压钢板","3-16孔"]
["创伤","金属接骨板","胫骨加压钢板","3-18孔"]
["创伤","金属接骨板","股骨加压钢板","3-18孔"]
["创伤","金属接骨板","限制性上肢加压钢板","3-16孔"]
["创伤","金属接骨板","限制性胫骨加压钢板","3-18孔"]
["创伤","金属接骨板","限制性股骨加压钢板","3-18孔"]
["创伤","金属接骨板","重建钢板","2-16孔"]
["创伤","金属接骨板","半管钢板","2-12孔"]
["创伤","金属接骨板","1/3管钢板","2-12孔"]
["创伤","金属接骨板","指骨钢板","2-10孔"]
["创伤","金属接骨板","掌骨钢板","2-10孔"]
["创伤","颈椎前路钢板",null,"4-8孔"]
["创伤","扎丝",null,"直径0.4-1.2mm"]
["创伤","金属带锁髓内钉","股骨带锁髓内钉","Φ8、9、9.4、10、11、12、13"]
["创伤","金属带锁髓内钉","胫骨带锁髓内钉","Φ7、7.5、8、8.5、9、10、11、12"]
["创伤","金属带锁髓内钉","股骨髁上倒置带锁钉","Φ8、9、9.3、10、11、12、13"]
["创伤","金属带锁髓内钉","伽玛型带锁钉","Φ8、9、9.3、10、11、12、13"]
["创伤","金属带锁髓内钉","股骨重建型带锁钉","Φ8、9、9.4、10、11、12、13"]
["创伤","金属股骨颈固定钉","金属股骨颈固定钉","Φ3.5"]
["创伤","金属股骨颈固定钉","金属股骨颈固定钉","Φ4.0"]
["创伤","金属股骨颈固定钉","金属股骨颈固定钉","Φ4.5"]
["创伤","金属股骨颈固定钉","金属股骨颈固定钉","Φ6.5"]
["创伤","金属股骨颈固定钉","金属股骨颈固定钉","Φ7.3"]
["创伤","金属角度型接骨板","角度板","2-12孔"]
["创伤","金属接骨螺钉","锁定接骨螺钉","3.5/4.0/4.5/5.0/5.5/6.0/6.5"]
["创伤","金属髓内针",null,"Φ0.8/1.0/1.2/1.5/2.0/2.5/3.0/3.5/4.0/4.5/5.0/6.0"]
["创伤","锁定型接骨板","锁定尺桡骨钢板","3-12孔"]
["创伤","锁定型接骨板","锁定肱骨钢板","3-14孔"]
["创伤","锁定型接骨板","锁定上肢钢板","3-14孔"]
["创伤","锁定型接骨板","锁定胫骨钢板","3-18孔"]
["创伤","锁定型接骨板","锁定股骨钢板","4-20孔"]
["创伤","锁定型接骨板","锁定重建钢板","3-14孔"]
["创伤","锁定型接骨板","锁定半管钢板","3-12孔"]
["创伤","锁定型接骨板","锁定1/3圆钢板","3-12孔"]
["创伤","锁定型接骨板","锁定锁骨钩钢板","2-12孔"]
["创伤","锁定型接骨板","锁定2.0直型锁骨钢板","2-10孔"]
["创伤","锁定型接骨板","锁定指骨钢板","2-10孔"]
["创伤","锁定型接骨板","锁定2.5直型锁骨钢板","2-10孔"]
["创伤","锁定型接骨板","锁定掌骨钢板","2-10孔"]
["创伤","锁定型接骨板","锁定重建钢板II型","3-12孔"]
["创伤","锁定型接骨板","锁定S型锁骨钢板","2-12孔"]
["创伤","锁定型接骨板","锁定锁骨远端钢板","3-10孔"]
["创伤","锁定型接骨板","锁定尺骨近端钢板","2-12孔"]
["创伤","锁定型接骨板","锁定肱骨颈钢板","2-12孔"]
["创伤","锁定型接骨板","锁定腓骨远端钢板II型","2-12孔"]
["创伤","锁定型接骨板","锁定肱骨近端钢板I型","3-12孔"]
["创伤","锁定型接骨板","锁定胫骨远端内/外侧钢板","3-15孔"]
["创伤","锁定型接骨板","锁定胫骨近端内/外侧钢板","2-10孔"]
["创伤","锁定型接骨板","锁定截骨2.7钢板","2-8孔"]
["创伤","锁定型接骨板","锁定截骨3.5钢板","2-8孔"]
["创伤","锁定型接骨板","锁定截骨5.0钢板","2-8孔"]
["创伤","锁定型接骨板","锁定股骨远端亚髁板","4-13孔"]
["创伤","锁定型接骨板","锁定胫骨近端外侧钢板","3-15孔"]
["创伤","锁定型接骨板","锁定肱骨近端钢板II型","3-12孔"]
["创伤","锁定型接骨板","锁定胫骨远端内侧钢板II型","4-15孔"]
["创伤","锁定型接骨板","锁定Y型鹰嘴窝钢板","3-10孔"]
["创伤","锁定型接骨板","锁定尺骨鹰嘴钢板","2-10孔"]
["创伤","锁定型接骨板","锁定鹰嘴钩重建钢板","2-10孔"]
["创伤","锁定型接骨板","锁定桡骨远端内侧钢板","2-8孔"]
["创伤","锁定型接骨板","锁定胫骨远端内侧钢板I型","4-15孔"]
["创伤","锁定型接骨板","锁定股骨颈钢板","3-12孔"]
["创伤","锁定型接骨板","锁定股骨弧形钢板","6-18孔"]
["创伤","锁定型接骨板","锁定踝关节融合接骨板","4孔"]
["创伤","锁定型接骨板","锁定股骨远端外侧钢板","3-15孔"]
["创伤","锁定型接骨板","锁定动力髋钢板","3-12孔"]
["创伤","锁定型接骨板","锁定鹅头钉钢板","3-12孔"]
["创伤","锁定型接骨板","锁定桡骨远端外侧钢板","3-8孔"]
["创伤","锁定型接骨板","锁定股骨远端亚髁钢板","3-13孔"]
["创伤","锁定型接骨板","锁定股骨近端钢板I型","3-15孔"]
["创伤","锁定型接骨板","锁定股骨近端钢板II型","3-15孔"]
["创伤","锁定型接骨板","锁定股骨远端内侧钢板","3-13孔"]
["创伤","锁定型接骨板","锁定股骨髁支持钢板","3-13孔"]
["创伤","锁定型接骨板","锁定股骨近端髁钢板","3-15孔"]
["创伤","锁定型接骨板","锁定肱骨远端亚髁钢板","3-10孔"]
["创伤","锁定型接骨板","锁定桡骨/腓骨远端钢板","2-8孔"]
["创伤","锁定型接骨板","锁定T型钢板","2-12孔"]
["创伤","锁定型接骨板","锁定小T型弯钢板","2-8孔"]
["创伤","锁定型接骨板","锁定小T型斜钢板","2-10孔"]
["创伤","锁定型接骨板","锁定小T型钢板","2-6孔"]
["创伤","锁定型接骨板","锁定肱骨髁钢板","3-10孔"]
["创伤","锁定型接骨板","锁定L型钢板","3-10孔"]
["创伤","锁定型接骨板","锁定斜L型钢板","2-16孔"]
["创伤","锁定型接骨板","锁定2.0L型钢板","4-9孔"]
["创伤","锁定型接骨板","锁定桡骨远端背侧钢板","14孔"]
["创伤","锁定型接骨板","锁定工型钢板","5孔"]
["创伤","锁定型接骨板","锁定矩型钢板","4-16孔"]
["创伤","锁定型接骨板","锁定网状钢板","4-16孔"]
["创伤","锁定型接骨板","锁定Y型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定Z型钢板","4-8孔"]
["创伤","锁定型接骨板","锁定X型钢板","6孔"]
["创伤","锁定型接骨板","锁定H型钢板","11孔"]
["创伤","锁定型接骨板","锁定匙型钢板","2-12孔"]
["创伤","锁定型接骨板","锁定跟骨钢板I型小","8孔"]
["创伤","锁定型接骨板","锁定跟骨钢板I型大","10孔"]
["创伤","锁定型接骨板","锁定跟骨钢板II型长3孔","13孔"]
["创伤","锁定型接骨板","锁定跟骨钢板II型长4孔","15孔"]
["创伤","锁定型接骨板","锁定跟骨钢板II型短4孔","13孔"]
["创伤","锁定型接骨板","锁定跟骨钢板II型短3孔","11孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型长3孔","16孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型长4孔","18孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型短3孔","16孔"]
["创伤","锁定型接骨板","锁定跟骨钢板IV型","12孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型长","12孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型短3孔","12孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型短4孔","14孔"]
["创伤","锁定型接骨板","锁定跟骨钢板III型短","10孔"]
["创伤","锁定型接骨板","锁定跟骨钢板IV型","11孔"]
["创伤","锁定型接骨板","锁定骨盆钢板","4-16孔"]
["创伤","锁定型接骨板","锁定髋臼后壁钢板","4-16孔"]
["创伤","锁定型接骨板","锁定弓状线耻骨钢板","4-16孔"]
["创伤","锁定型接骨板","锁定髋臼后柱钢板","4-16孔"]
["创伤","锁定型接骨板","锁定骼耻联合钢板","4-16孔"]
["创伤","锁定型接骨板","锁定桡骨远端掌侧关节内钢板","2-10孔"]
["创伤","锁定型接骨板","锁定肱骨远端内侧钢板","3-12孔"]
["创伤","锁定型接骨板","锁定胫骨远端前外侧钢板","3-15孔"]
["创伤","锁定型接骨板","锁定胫骨近端外侧钢板II型","3-15孔"]
["创伤","锁定型接骨板","锁定腓骨远端钢板I型","2-12孔"]
["创伤","锁定型接骨板","锁定股骨远端内侧髁钢板","3-12孔"]
["创伤","锁定型接骨板","锁定股骨远端外侧髁钢板","3-12孔"]
["创伤","锁定型接骨板","锁定肱骨大结节钢板","2-6孔"]
["创伤","锁定型接骨板","锁定桡骨远端掌侧关节外钢板","2-8孔"]
["创伤","锁定型接骨板","锁定桡骨远端掌侧钢板","2-8孔"]
["创伤","锁定型接骨板","锁定桡骨头钢板","2-6孔"]
["创伤","锁定型接骨板","锁定肱骨远端外侧钢板","4-12孔"]
["创伤","锁定型接骨板","锁定胫骨远端海鸥型钢板","4-12孔"]
["创伤","锁定型接骨板","锁定胫骨平台后侧柱钢板","3-10孔"]
["创伤","锁定型接骨板","锁定胫骨平台外侧柱钢板","4-17孔"]
["创伤","锁定型接骨板","锁定胫骨远端前外侧钢板","4-15孔"]
["创伤","锁定型接骨板","锁定胫骨平台内侧柱钢板","3-13孔"]
["创伤","锁定型接骨板","锁定2.5L型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定2.0T型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定2.5T型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定2.0髁型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定2.5髁型钢板","4-10孔"]
["创伤","锁定型接骨板","锁定2.5距骨钢板","6孔"]
["创伤","锁定型接骨板","锁定2.5足舟骨钢板","11孔"]
["创伤","锁定型接骨板","锁定股骨近端钢板","4孔"]
["创伤","锁定型接骨板","锁定骶骨关节前路板","3-10孔"]
["创伤","锁定型接骨板","锁定髋臼前壁解剖板","3-12孔"]
["创伤","锁定型接骨螺钉",null,"1.5/2.0/2.5/2.7/3.0/3.5/4.0/4.5/5.0/5.5/6.0/6.5"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}